## Alarm Mapping
Alarm Bit | Tag | Description | Alarm | Type | Alarm Text | Label
0 | FTX1 | Inlet Flow Transmitter | LoLo | Flow | FTX1 Inlet Flow Transmitter LoLo Flow | FTX1_LoLo
1 | FTX1 | Inlet Flow Transmitter | Lo | Flow | FTX1 Inlet Flow Transmitter Lo Flow | FTX1_Lo
2 | FTX1 | Inlet Flow Transmitter | Hi | Flow | FTX1 Inlet Flow Transmitter Hi Flow | FTX1_Hi
3 | FTX1 | Inlet Flow Transmitter | HiHi | Flow | FTX1 Inlet Flow Transmitter HiHi Flow | FTX1_HiHi
4 | FTX1 | Inlet Flow Transmitter | Config | Error | FTX1 Inlet Flow Transmitter Config Error | FTX1_Config
5 | LTX1 | Tank Level | LoLo | Level | LTX1 Tank Level LoLo Level | LTX1_LoLo
6 | LTX1 | Tank Level | Lo | Level | LTX1 Tank Level Lo Level | LTX1_Lo
7 | LTX1 | Tank Level | Hi | Level | LTX1 Tank Level Hi Level | LTX1_Hi
8 | LTX1 | Tank Level | HiHi | Level | LTX1 Tank Level HiHi Level | LTX1_HiHi
9 | LTX1 | Tank Level | Config | Error | LTX1 Tank Level Config Error | LTX1_Config
10 | FTX2 | Outlet Flow Transmitter | LoLo | Flow | FTX2 Outlet Flow Transmitter LoLo Flow | FTX2_LoLo
11 | FTX2 | Outlet Flow Transmitter | Lo | Flow | FTX2 Outlet Flow Transmitter Lo Flow | FTX2_Lo
12 | FTX2 | Outlet Flow Transmitter | Hi | Flow | FTX2 Outlet Flow Transmitter Hi Flow | FTX2_Hi
13 | FTX2 | Outlet Flow Transmitter | HiHi | Flow | FTX2 Outlet Flow Transmitter HiHi Flow | FTX2_HiHi
14 | FTX2 | Outlet Flow Transmitter | Config | Error | FTX2 Outlet Flow Transmitter Config Error | FTX2_Config
15 | MCX1 | Pump | VFD | Fault | MCX1 Pump VFD Fault | MCX1_VFD
16 | PTX1 | Pump Discharge Pressure Transmitter | LoLo | Pressure | PTX1 Pump Discharge Pressure Transmitter LoLo Pressure | PTX1_LoLo
17 | PTX1 | Pump Discharge Pressure Transmitter | Lo | Pressure | PTX1 Pump Discharge Pressure Transmitter Lo Pressure | PTX1_Lo
18 | PTX1 | Pump Discharge Pressure Transmitter | Hi | Pressure | PTX1 Pump Discharge Pressure Transmitter Hi Pressure | PTX1_Hi
19 | PTX1 | Pump Discharge Pressure Transmitter | HiHi | Pressure | PTX1 Pump Discharge Pressure Transmitter HiHi Pressure | PTX1_HiHi
20 | PTX1 | Pump Discharge Pressure Transmitter | Config | Error | PTX1 Pump Discharge Pressure Transmitter Config Error | PTX1_Config
21 | [5 empty] | _
22 | [5 empty] | _
23 | [5 empty] | _
24 | [5 empty] | _
25 | [5 empty] | _
26 | [5 empty] | _
27 | [5 empty] | _
28 | [5 empty] | _
29 | [5 empty] | _
30 | [5 empty] | _
31 | [5 empty] | _

## Triggers
Tank | Bit | id | type | ack-all-value | use-ack-all | ack-tag | exp | message-tag | message-handshake-exp | message-notification-tag | remote-ack-exp | remote-ack-handshake-tag | genericLabel | label | handshake-tag | XML
1 | 0 | T1 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].0} | [5 empty] | FTX1_LoLo | FT11_LoLo |  | <trigger id="T1" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].0}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT11_LoLo" handshake-tag="" />
1 | 1 | T2 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].1} | [5 empty] | FTX1_Lo | FT11_Lo |  | <trigger id="T2" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].1}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT11_Lo" handshake-tag="" />
1 | 2 | T3 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].2} | [5 empty] | FTX1_Hi | FT11_Hi |  | <trigger id="T3" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].2}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT11_Hi" handshake-tag="" />
1 | 3 | T4 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].3} | [5 empty] | FTX1_HiHi | FT11_HiHi |  | <trigger id="T4" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].3}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT11_HiHi" handshake-tag="" />
1 | 4 | T5 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].4} | [5 empty] | FTX1_Config | FT11_Config |  | <trigger id="T5" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].4}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT11_Config" handshake-tag="" />
1 | 5 | T6 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].5} | [5 empty] | LTX1_LoLo | LT11_LoLo |  | <trigger id="T6" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].5}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT11_LoLo" handshake-tag="" />
1 | 6 | T7 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].6} | [5 empty] | LTX1_Lo | LT11_Lo |  | <trigger id="T7" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].6}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT11_Lo" handshake-tag="" />
1 | 7 | T8 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].7} | [5 empty] | LTX1_Hi | LT11_Hi |  | <trigger id="T8" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].7}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT11_Hi" handshake-tag="" />
1 | 8 | T9 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].8} | [5 empty] | LTX1_HiHi | LT11_HiHi |  | <trigger id="T9" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].8}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT11_HiHi" handshake-tag="" />
1 | 9 | T10 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].9} | [5 empty] | LTX1_Config | LT11_Config |  | <trigger id="T10" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].9}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT11_Config" handshake-tag="" />
1 | 10 | T11 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].10} | [5 empty] | FTX2_LoLo | FT12_LoLo |  | <trigger id="T11" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].10}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT12_LoLo" handshake-tag="" />
1 | 11 | T12 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].11} | [5 empty] | FTX2_Lo | FT12_Lo |  | <trigger id="T12" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].11}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT12_Lo" handshake-tag="" />
1 | 12 | T13 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].12} | [5 empty] | FTX2_Hi | FT12_Hi |  | <trigger id="T13" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].12}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT12_Hi" handshake-tag="" />
1 | 13 | T14 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].13} | [5 empty] | FTX2_HiHi | FT12_HiHi |  | <trigger id="T14" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].13}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT12_HiHi" handshake-tag="" />
1 | 14 | T15 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].14} | [5 empty] | FTX2_Config | FT12_Config |  | <trigger id="T15" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].14}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT12_Config" handshake-tag="" />
1 | 15 | T16 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].15} | [5 empty] | MCX1_VFD | MC11_VFD |  | <trigger id="T16" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].15}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="MC11_VFD" handshake-tag="" />
1 | 16 | T17 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].16} | [5 empty] | PTX1_LoLo | PT11_LoLo |  | <trigger id="T17" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].16}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT11_LoLo" handshake-tag="" />
1 | 17 | T18 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].17} | [5 empty] | PTX1_Lo | PT11_Lo |  | <trigger id="T18" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].17}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT11_Lo" handshake-tag="" />
1 | 18 | T19 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].18} | [5 empty] | PTX1_Hi | PT11_Hi |  | <trigger id="T19" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].18}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT11_Hi" handshake-tag="" />
1 | 19 | T20 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].19} | [5 empty] | PTX1_HiHi | PT11_HiHi |  | <trigger id="T20" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].19}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT11_HiHi" handshake-tag="" />
1 | 20 | T21 | value | 0 | false |  | {[PLC]sts_TankAlarm[1].20} | [5 empty] | PTX1_Config | PT11_Config |  | <trigger id="T21" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[1].20}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT11_Config" handshake-tag="" />
2 | 0 | T22 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].0} | [5 empty] | FTX1_LoLo | FT21_LoLo |  | <trigger id="T22" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].0}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT21_LoLo" handshake-tag="" />
2 | 1 | T23 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].1} | [5 empty] | FTX1_Lo | FT21_Lo |  | <trigger id="T23" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].1}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT21_Lo" handshake-tag="" />
2 | 2 | T24 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].2} | [5 empty] | FTX1_Hi | FT21_Hi |  | <trigger id="T24" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].2}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT21_Hi" handshake-tag="" />
2 | 3 | T25 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].3} | [5 empty] | FTX1_HiHi | FT21_HiHi |  | <trigger id="T25" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].3}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT21_HiHi" handshake-tag="" />
2 | 4 | T26 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].4} | [5 empty] | FTX1_Config | FT21_Config |  | <trigger id="T26" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].4}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT21_Config" handshake-tag="" />
2 | 5 | T27 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].5} | [5 empty] | LTX1_LoLo | LT21_LoLo |  | <trigger id="T27" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].5}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT21_LoLo" handshake-tag="" />
2 | 6 | T28 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].6} | [5 empty] | LTX1_Lo | LT21_Lo |  | <trigger id="T28" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].6}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT21_Lo" handshake-tag="" />
2 | 7 | T29 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].7} | [5 empty] | LTX1_Hi | LT21_Hi |  | <trigger id="T29" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].7}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT21_Hi" handshake-tag="" />
2 | 8 | T30 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].8} | [5 empty] | LTX1_HiHi | LT21_HiHi |  | <trigger id="T30" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].8}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT21_HiHi" handshake-tag="" />
2 | 9 | T31 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].9} | [5 empty] | LTX1_Config | LT21_Config |  | <trigger id="T31" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].9}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT21_Config" handshake-tag="" />
2 | 10 | T32 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].10} | [5 empty] | FTX2_LoLo | FT22_LoLo |  | <trigger id="T32" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].10}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT22_LoLo" handshake-tag="" />
2 | 11 | T33 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].11} | [5 empty] | FTX2_Lo | FT22_Lo |  | <trigger id="T33" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].11}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT22_Lo" handshake-tag="" />
2 | 12 | T34 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].12} | [5 empty] | FTX2_Hi | FT22_Hi |  | <trigger id="T34" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].12}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT22_Hi" handshake-tag="" />
2 | 13 | T35 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].13} | [5 empty] | FTX2_HiHi | FT22_HiHi |  | <trigger id="T35" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].13}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT22_HiHi" handshake-tag="" />
2 | 14 | T36 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].14} | [5 empty] | FTX2_Config | FT22_Config |  | <trigger id="T36" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].14}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT22_Config" handshake-tag="" />
2 | 15 | T37 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].15} | [5 empty] | MCX1_VFD | MC21_VFD |  | <trigger id="T37" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].15}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="MC21_VFD" handshake-tag="" />
2 | 16 | T38 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].16} | [5 empty] | PTX1_LoLo | PT21_LoLo |  | <trigger id="T38" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].16}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT21_LoLo" handshake-tag="" />
2 | 17 | T39 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].17} | [5 empty] | PTX1_Lo | PT21_Lo |  | <trigger id="T39" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].17}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT21_Lo" handshake-tag="" />
2 | 18 | T40 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].18} | [5 empty] | PTX1_Hi | PT21_Hi |  | <trigger id="T40" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].18}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT21_Hi" handshake-tag="" />
2 | 19 | T41 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].19} | [5 empty] | PTX1_HiHi | PT21_HiHi |  | <trigger id="T41" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].19}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT21_HiHi" handshake-tag="" />
2 | 20 | T42 | value | 0 | false |  | {[PLC]sts_TankAlarm[2].20} | [5 empty] | PTX1_Config | PT21_Config |  | <trigger id="T42" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[2].20}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT21_Config" handshake-tag="" />
3 | 0 | T43 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].0} | [5 empty] | FTX1_LoLo | FT31_LoLo |  | <trigger id="T43" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].0}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT31_LoLo" handshake-tag="" />
3 | 1 | T44 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].1} | [5 empty] | FTX1_Lo | FT31_Lo |  | <trigger id="T44" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].1}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT31_Lo" handshake-tag="" />
3 | 2 | T45 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].2} | [5 empty] | FTX1_Hi | FT31_Hi |  | <trigger id="T45" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].2}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT31_Hi" handshake-tag="" />
3 | 3 | T46 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].3} | [5 empty] | FTX1_HiHi | FT31_HiHi |  | <trigger id="T46" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].3}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT31_HiHi" handshake-tag="" />
3 | 4 | T47 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].4} | [5 empty] | FTX1_Config | FT31_Config |  | <trigger id="T47" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].4}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT31_Config" handshake-tag="" />
3 | 5 | T48 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].5} | [5 empty] | LTX1_LoLo | LT31_LoLo |  | <trigger id="T48" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].5}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT31_LoLo" handshake-tag="" />
3 | 6 | T49 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].6} | [5 empty] | LTX1_Lo | LT31_Lo |  | <trigger id="T49" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].6}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT31_Lo" handshake-tag="" />
3 | 7 | T50 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].7} | [5 empty] | LTX1_Hi | LT31_Hi |  | <trigger id="T50" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].7}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT31_Hi" handshake-tag="" />
3 | 8 | T51 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].8} | [5 empty] | LTX1_HiHi | LT31_HiHi |  | <trigger id="T51" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].8}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT31_HiHi" handshake-tag="" />
3 | 9 | T52 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].9} | [5 empty] | LTX1_Config | LT31_Config |  | <trigger id="T52" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].9}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT31_Config" handshake-tag="" />
3 | 10 | T53 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].10} | [5 empty] | FTX2_LoLo | FT32_LoLo |  | <trigger id="T53" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].10}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT32_LoLo" handshake-tag="" />
3 | 11 | T54 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].11} | [5 empty] | FTX2_Lo | FT32_Lo |  | <trigger id="T54" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].11}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT32_Lo" handshake-tag="" />
3 | 12 | T55 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].12} | [5 empty] | FTX2_Hi | FT32_Hi |  | <trigger id="T55" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].12}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT32_Hi" handshake-tag="" />
3 | 13 | T56 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].13} | [5 empty] | FTX2_HiHi | FT32_HiHi |  | <trigger id="T56" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].13}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT32_HiHi" handshake-tag="" />
3 | 14 | T57 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].14} | [5 empty] | FTX2_Config | FT32_Config |  | <trigger id="T57" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].14}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT32_Config" handshake-tag="" />
3 | 15 | T58 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].15} | [5 empty] | MCX1_VFD | MC31_VFD |  | <trigger id="T58" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].15}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="MC31_VFD" handshake-tag="" />
3 | 16 | T59 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].16} | [5 empty] | PTX1_LoLo | PT31_LoLo |  | <trigger id="T59" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].16}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT31_LoLo" handshake-tag="" />
3 | 17 | T60 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].17} | [5 empty] | PTX1_Lo | PT31_Lo |  | <trigger id="T60" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].17}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT31_Lo" handshake-tag="" />
3 | 18 | T61 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].18} | [5 empty] | PTX1_Hi | PT31_Hi |  | <trigger id="T61" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].18}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT31_Hi" handshake-tag="" />
3 | 19 | T62 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].19} | [5 empty] | PTX1_HiHi | PT31_HiHi |  | <trigger id="T62" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].19}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT31_HiHi" handshake-tag="" />
3 | 20 | T63 | value | 0 | false |  | {[PLC]sts_TankAlarm[3].20} | [5 empty] | PTX1_Config | PT31_Config |  | <trigger id="T63" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[3].20}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT31_Config" handshake-tag="" />
4 | 0 | T64 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].0} | [5 empty] | FTX1_LoLo | FT41_LoLo |  | <trigger id="T64" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].0}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT41_LoLo" handshake-tag="" />
4 | 1 | T65 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].1} | [5 empty] | FTX1_Lo | FT41_Lo |  | <trigger id="T65" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].1}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT41_Lo" handshake-tag="" />
4 | 2 | T66 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].2} | [5 empty] | FTX1_Hi | FT41_Hi |  | <trigger id="T66" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].2}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT41_Hi" handshake-tag="" />
4 | 3 | T67 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].3} | [5 empty] | FTX1_HiHi | FT41_HiHi |  | <trigger id="T67" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].3}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT41_HiHi" handshake-tag="" />
4 | 4 | T68 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].4} | [5 empty] | FTX1_Config | FT41_Config |  | <trigger id="T68" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].4}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT41_Config" handshake-tag="" />
4 | 5 | T69 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].5} | [5 empty] | LTX1_LoLo | LT41_LoLo |  | <trigger id="T69" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].5}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT41_LoLo" handshake-tag="" />
4 | 6 | T70 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].6} | [5 empty] | LTX1_Lo | LT41_Lo |  | <trigger id="T70" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].6}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT41_Lo" handshake-tag="" />
4 | 7 | T71 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].7} | [5 empty] | LTX1_Hi | LT41_Hi |  | <trigger id="T71" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].7}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT41_Hi" handshake-tag="" />
4 | 8 | T72 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].8} | [5 empty] | LTX1_HiHi | LT41_HiHi |  | <trigger id="T72" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].8}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT41_HiHi" handshake-tag="" />
4 | 9 | T73 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].9} | [5 empty] | LTX1_Config | LT41_Config |  | <trigger id="T73" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].9}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="LT41_Config" handshake-tag="" />
4 | 10 | T74 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].10} | [5 empty] | FTX2_LoLo | FT42_LoLo |  | <trigger id="T74" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].10}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT42_LoLo" handshake-tag="" />
4 | 11 | T75 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].11} | [5 empty] | FTX2_Lo | FT42_Lo |  | <trigger id="T75" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].11}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT42_Lo" handshake-tag="" />
4 | 12 | T76 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].12} | [5 empty] | FTX2_Hi | FT42_Hi |  | <trigger id="T76" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].12}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT42_Hi" handshake-tag="" />
4 | 13 | T77 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].13} | [5 empty] | FTX2_HiHi | FT42_HiHi |  | <trigger id="T77" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].13}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT42_HiHi" handshake-tag="" />
4 | 14 | T78 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].14} | [5 empty] | FTX2_Config | FT42_Config |  | <trigger id="T78" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].14}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="FT42_Config" handshake-tag="" />
4 | 15 | T79 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].15} | [5 empty] | MCX1_VFD | MC41_VFD |  | <trigger id="T79" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].15}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="MC41_VFD" handshake-tag="" />
4 | 16 | T80 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].16} | [5 empty] | PTX1_LoLo | PT41_LoLo |  | <trigger id="T80" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].16}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT41_LoLo" handshake-tag="" />
4 | 17 | T81 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].17} | [5 empty] | PTX1_Lo | PT41_Lo |  | <trigger id="T81" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].17}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT41_Lo" handshake-tag="" />
4 | 18 | T82 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].18} | [5 empty] | PTX1_Hi | PT41_Hi |  | <trigger id="T82" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].18}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT41_Hi" handshake-tag="" />
4 | 19 | T83 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].19} | [5 empty] | PTX1_HiHi | PT41_HiHi |  | <trigger id="T83" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].19}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT41_HiHi" handshake-tag="" />
4 | 20 | T84 | value | 0 | false |  | {[PLC]sts_TankAlarm[4].20} | [5 empty] | PTX1_Config | PT41_Config |  | <trigger id="T84" type="value" ack-all-value="0" use-ack-all="false" ack-tag="" exp="{[PLC]sts_TankAlarm[4].20}" message-tag="" message-handshake-exp="" message-notification-tag="" remote-ack-handshake-tag="" label="PT41_Config" handshake-tag="" />

## Messages
Tank | id | trigger-value | identifier | trigger | backcolor | forecolor | audio | display | print | message-to-tag | genericText | text
1 | M1 | 1 | 1 | T1 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter LoLo Flow | FT11 Inlet Flow Transmitter LoLo Flow | <message id="M1" trigger-value="1" identifier="1" trigger="#T1" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT11 Inlet Flow Transmitter LoLo Flow" />
1 | M2 | 1 | 2 | T2 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Lo Flow | FT11 Inlet Flow Transmitter Lo Flow | <message id="M2" trigger-value="1" identifier="2" trigger="#T2" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT11 Inlet Flow Transmitter Lo Flow" />
1 | M3 | 1 | 3 | T3 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Hi Flow | FT11 Inlet Flow Transmitter Hi Flow | <message id="M3" trigger-value="1" identifier="3" trigger="#T3" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT11 Inlet Flow Transmitter Hi Flow" />
1 | M4 | 1 | 4 | T4 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter HiHi Flow | FT11 Inlet Flow Transmitter HiHi Flow | <message id="M4" trigger-value="1" identifier="4" trigger="#T4" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT11 Inlet Flow Transmitter HiHi Flow" />
1 | M5 | 1 | 5 | T5 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Config Error | FT11 Inlet Flow Transmitter Config Error | <message id="M5" trigger-value="1" identifier="5" trigger="#T5" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT11 Inlet Flow Transmitter Config Error" />
1 | M6 | 1 | 6 | T6 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level LoLo Level | LT11 Tank Level LoLo Level | <message id="M6" trigger-value="1" identifier="6" trigger="#T6" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT11 Tank Level LoLo Level" />
1 | M7 | 1 | 7 | T7 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Lo Level | LT11 Tank Level Lo Level | <message id="M7" trigger-value="1" identifier="7" trigger="#T7" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT11 Tank Level Lo Level" />
1 | M8 | 1 | 8 | T8 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Hi Level | LT11 Tank Level Hi Level | <message id="M8" trigger-value="1" identifier="8" trigger="#T8" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT11 Tank Level Hi Level" />
1 | M9 | 1 | 9 | T9 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level HiHi Level | LT11 Tank Level HiHi Level | <message id="M9" trigger-value="1" identifier="9" trigger="#T9" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT11 Tank Level HiHi Level" />
1 | M10 | 1 | 10 | T10 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Config Error | LT11 Tank Level Config Error | <message id="M10" trigger-value="1" identifier="10" trigger="#T10" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT11 Tank Level Config Error" />
1 | M11 | 1 | 11 | T11 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter LoLo Flow | FT12 Outlet Flow Transmitter LoLo Flow | <message id="M11" trigger-value="1" identifier="11" trigger="#T11" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT12 Outlet Flow Transmitter LoLo Flow" />
1 | M12 | 1 | 12 | T12 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Lo Flow | FT12 Outlet Flow Transmitter Lo Flow | <message id="M12" trigger-value="1" identifier="12" trigger="#T12" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT12 Outlet Flow Transmitter Lo Flow" />
1 | M13 | 1 | 13 | T13 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Hi Flow | FT12 Outlet Flow Transmitter Hi Flow | <message id="M13" trigger-value="1" identifier="13" trigger="#T13" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT12 Outlet Flow Transmitter Hi Flow" />
1 | M14 | 1 | 14 | T14 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter HiHi Flow | FT12 Outlet Flow Transmitter HiHi Flow | <message id="M14" trigger-value="1" identifier="14" trigger="#T14" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT12 Outlet Flow Transmitter HiHi Flow" />
1 | M15 | 1 | 15 | T15 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Config Error | FT12 Outlet Flow Transmitter Config Error | <message id="M15" trigger-value="1" identifier="15" trigger="#T15" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT12 Outlet Flow Transmitter Config Error" />
1 | M16 | 1 | 16 | T16 | #800000 | #FFFFFF | false | true | false | false | MCX1 Pump VFD Fault | MC11 Pump VFD Fault | <message id="M16" trigger-value="1" identifier="16" trigger="#T16" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="MC11 Pump VFD Fault" />
1 | M17 | 1 | 17 | T17 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter LoLo Pressure | PT11 Pump Discharge Pressure Transmitter LoLo Pressure | <message id="M17" trigger-value="1" identifier="17" trigger="#T17" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT11 Pump Discharge Pressure Transmitter LoLo Pressure" />
1 | M18 | 1 | 18 | T18 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Lo Pressure | PT11 Pump Discharge Pressure Transmitter Lo Pressure | <message id="M18" trigger-value="1" identifier="18" trigger="#T18" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT11 Pump Discharge Pressure Transmitter Lo Pressure" />
1 | M19 | 1 | 19 | T19 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Hi Pressure | PT11 Pump Discharge Pressure Transmitter Hi Pressure | <message id="M19" trigger-value="1" identifier="19" trigger="#T19" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT11 Pump Discharge Pressure Transmitter Hi Pressure" />
1 | M20 | 1 | 20 | T20 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter HiHi Pressure | PT11 Pump Discharge Pressure Transmitter HiHi Pressure | <message id="M20" trigger-value="1" identifier="20" trigger="#T20" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT11 Pump Discharge Pressure Transmitter HiHi Pressure" />
1 | M21 | 1 | 21 | T21 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Config Error | PT11 Pump Discharge Pressure Transmitter Config Error | <message id="M21" trigger-value="1" identifier="21" trigger="#T21" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT11 Pump Discharge Pressure Transmitter Config Error" />
2 | M22 | 1 | 22 | T22 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter LoLo Flow | FT21 Inlet Flow Transmitter LoLo Flow | <message id="M22" trigger-value="1" identifier="22" trigger="#T22" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT21 Inlet Flow Transmitter LoLo Flow" />
2 | M23 | 1 | 23 | T23 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Lo Flow | FT21 Inlet Flow Transmitter Lo Flow | <message id="M23" trigger-value="1" identifier="23" trigger="#T23" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT21 Inlet Flow Transmitter Lo Flow" />
2 | M24 | 1 | 24 | T24 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Hi Flow | FT21 Inlet Flow Transmitter Hi Flow | <message id="M24" trigger-value="1" identifier="24" trigger="#T24" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT21 Inlet Flow Transmitter Hi Flow" />
2 | M25 | 1 | 25 | T25 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter HiHi Flow | FT21 Inlet Flow Transmitter HiHi Flow | <message id="M25" trigger-value="1" identifier="25" trigger="#T25" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT21 Inlet Flow Transmitter HiHi Flow" />
2 | M26 | 1 | 26 | T26 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Config Error | FT21 Inlet Flow Transmitter Config Error | <message id="M26" trigger-value="1" identifier="26" trigger="#T26" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT21 Inlet Flow Transmitter Config Error" />
2 | M27 | 1 | 27 | T27 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level LoLo Level | LT21 Tank Level LoLo Level | <message id="M27" trigger-value="1" identifier="27" trigger="#T27" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT21 Tank Level LoLo Level" />
2 | M28 | 1 | 28 | T28 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Lo Level | LT21 Tank Level Lo Level | <message id="M28" trigger-value="1" identifier="28" trigger="#T28" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT21 Tank Level Lo Level" />
2 | M29 | 1 | 29 | T29 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Hi Level | LT21 Tank Level Hi Level | <message id="M29" trigger-value="1" identifier="29" trigger="#T29" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT21 Tank Level Hi Level" />
2 | M30 | 1 | 30 | T30 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level HiHi Level | LT21 Tank Level HiHi Level | <message id="M30" trigger-value="1" identifier="30" trigger="#T30" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT21 Tank Level HiHi Level" />
2 | M31 | 1 | 31 | T31 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Config Error | LT21 Tank Level Config Error | <message id="M31" trigger-value="1" identifier="31" trigger="#T31" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT21 Tank Level Config Error" />
2 | M32 | 1 | 32 | T32 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter LoLo Flow | FT22 Outlet Flow Transmitter LoLo Flow | <message id="M32" trigger-value="1" identifier="32" trigger="#T32" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT22 Outlet Flow Transmitter LoLo Flow" />
2 | M33 | 1 | 33 | T33 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Lo Flow | FT22 Outlet Flow Transmitter Lo Flow | <message id="M33" trigger-value="1" identifier="33" trigger="#T33" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT22 Outlet Flow Transmitter Lo Flow" />
2 | M34 | 1 | 34 | T34 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Hi Flow | FT22 Outlet Flow Transmitter Hi Flow | <message id="M34" trigger-value="1" identifier="34" trigger="#T34" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT22 Outlet Flow Transmitter Hi Flow" />
2 | M35 | 1 | 35 | T35 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter HiHi Flow | FT22 Outlet Flow Transmitter HiHi Flow | <message id="M35" trigger-value="1" identifier="35" trigger="#T35" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT22 Outlet Flow Transmitter HiHi Flow" />
2 | M36 | 1 | 36 | T36 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Config Error | FT22 Outlet Flow Transmitter Config Error | <message id="M36" trigger-value="1" identifier="36" trigger="#T36" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT22 Outlet Flow Transmitter Config Error" />
2 | M37 | 1 | 37 | T37 | #800000 | #FFFFFF | false | true | false | false | MCX1 Pump VFD Fault | MC21 Pump VFD Fault | <message id="M37" trigger-value="1" identifier="37" trigger="#T37" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="MC21 Pump VFD Fault" />
2 | M38 | 1 | 38 | T38 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter LoLo Pressure | PT21 Pump Discharge Pressure Transmitter LoLo Pressure | <message id="M38" trigger-value="1" identifier="38" trigger="#T38" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT21 Pump Discharge Pressure Transmitter LoLo Pressure" />
2 | M39 | 1 | 39 | T39 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Lo Pressure | PT21 Pump Discharge Pressure Transmitter Lo Pressure | <message id="M39" trigger-value="1" identifier="39" trigger="#T39" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT21 Pump Discharge Pressure Transmitter Lo Pressure" />
2 | M40 | 1 | 40 | T40 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Hi Pressure | PT21 Pump Discharge Pressure Transmitter Hi Pressure | <message id="M40" trigger-value="1" identifier="40" trigger="#T40" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT21 Pump Discharge Pressure Transmitter Hi Pressure" />
2 | M41 | 1 | 41 | T41 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter HiHi Pressure | PT21 Pump Discharge Pressure Transmitter HiHi Pressure | <message id="M41" trigger-value="1" identifier="41" trigger="#T41" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT21 Pump Discharge Pressure Transmitter HiHi Pressure" />
2 | M42 | 1 | 42 | T42 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Config Error | PT21 Pump Discharge Pressure Transmitter Config Error | <message id="M42" trigger-value="1" identifier="42" trigger="#T42" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT21 Pump Discharge Pressure Transmitter Config Error" />
3 | M43 | 1 | 43 | T43 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter LoLo Flow | FT31 Inlet Flow Transmitter LoLo Flow | <message id="M43" trigger-value="1" identifier="43" trigger="#T43" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT31 Inlet Flow Transmitter LoLo Flow" />
3 | M44 | 1 | 44 | T44 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Lo Flow | FT31 Inlet Flow Transmitter Lo Flow | <message id="M44" trigger-value="1" identifier="44" trigger="#T44" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT31 Inlet Flow Transmitter Lo Flow" />
3 | M45 | 1 | 45 | T45 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Hi Flow | FT31 Inlet Flow Transmitter Hi Flow | <message id="M45" trigger-value="1" identifier="45" trigger="#T45" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT31 Inlet Flow Transmitter Hi Flow" />
3 | M46 | 1 | 46 | T46 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter HiHi Flow | FT31 Inlet Flow Transmitter HiHi Flow | <message id="M46" trigger-value="1" identifier="46" trigger="#T46" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT31 Inlet Flow Transmitter HiHi Flow" />
3 | M47 | 1 | 47 | T47 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Config Error | FT31 Inlet Flow Transmitter Config Error | <message id="M47" trigger-value="1" identifier="47" trigger="#T47" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT31 Inlet Flow Transmitter Config Error" />
3 | M48 | 1 | 48 | T48 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level LoLo Level | LT31 Tank Level LoLo Level | <message id="M48" trigger-value="1" identifier="48" trigger="#T48" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT31 Tank Level LoLo Level" />
3 | M49 | 1 | 49 | T49 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Lo Level | LT31 Tank Level Lo Level | <message id="M49" trigger-value="1" identifier="49" trigger="#T49" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT31 Tank Level Lo Level" />
3 | M50 | 1 | 50 | T50 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Hi Level | LT31 Tank Level Hi Level | <message id="M50" trigger-value="1" identifier="50" trigger="#T50" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT31 Tank Level Hi Level" />
3 | M51 | 1 | 51 | T51 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level HiHi Level | LT31 Tank Level HiHi Level | <message id="M51" trigger-value="1" identifier="51" trigger="#T51" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT31 Tank Level HiHi Level" />
3 | M52 | 1 | 52 | T52 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Config Error | LT31 Tank Level Config Error | <message id="M52" trigger-value="1" identifier="52" trigger="#T52" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT31 Tank Level Config Error" />
3 | M53 | 1 | 53 | T53 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter LoLo Flow | FT32 Outlet Flow Transmitter LoLo Flow | <message id="M53" trigger-value="1" identifier="53" trigger="#T53" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT32 Outlet Flow Transmitter LoLo Flow" />
3 | M54 | 1 | 54 | T54 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Lo Flow | FT32 Outlet Flow Transmitter Lo Flow | <message id="M54" trigger-value="1" identifier="54" trigger="#T54" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT32 Outlet Flow Transmitter Lo Flow" />
3 | M55 | 1 | 55 | T55 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Hi Flow | FT32 Outlet Flow Transmitter Hi Flow | <message id="M55" trigger-value="1" identifier="55" trigger="#T55" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT32 Outlet Flow Transmitter Hi Flow" />
3 | M56 | 1 | 56 | T56 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter HiHi Flow | FT32 Outlet Flow Transmitter HiHi Flow | <message id="M56" trigger-value="1" identifier="56" trigger="#T56" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT32 Outlet Flow Transmitter HiHi Flow" />
3 | M57 | 1 | 57 | T57 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Config Error | FT32 Outlet Flow Transmitter Config Error | <message id="M57" trigger-value="1" identifier="57" trigger="#T57" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT32 Outlet Flow Transmitter Config Error" />
3 | M58 | 1 | 58 | T58 | #800000 | #FFFFFF | false | true | false | false | MCX1 Pump VFD Fault | MC31 Pump VFD Fault | <message id="M58" trigger-value="1" identifier="58" trigger="#T58" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="MC31 Pump VFD Fault" />
3 | M59 | 1 | 59 | T59 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter LoLo Pressure | PT31 Pump Discharge Pressure Transmitter LoLo Pressure | <message id="M59" trigger-value="1" identifier="59" trigger="#T59" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT31 Pump Discharge Pressure Transmitter LoLo Pressure" />
3 | M60 | 1 | 60 | T60 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Lo Pressure | PT31 Pump Discharge Pressure Transmitter Lo Pressure | <message id="M60" trigger-value="1" identifier="60" trigger="#T60" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT31 Pump Discharge Pressure Transmitter Lo Pressure" />
3 | M61 | 1 | 61 | T61 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Hi Pressure | PT31 Pump Discharge Pressure Transmitter Hi Pressure | <message id="M61" trigger-value="1" identifier="61" trigger="#T61" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT31 Pump Discharge Pressure Transmitter Hi Pressure" />
3 | M62 | 1 | 62 | T62 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter HiHi Pressure | PT31 Pump Discharge Pressure Transmitter HiHi Pressure | <message id="M62" trigger-value="1" identifier="62" trigger="#T62" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT31 Pump Discharge Pressure Transmitter HiHi Pressure" />
3 | M63 | 1 | 63 | T63 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Config Error | PT31 Pump Discharge Pressure Transmitter Config Error | <message id="M63" trigger-value="1" identifier="63" trigger="#T63" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT31 Pump Discharge Pressure Transmitter Config Error" />
4 | M64 | 1 | 64 | T64 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter LoLo Flow | FT41 Inlet Flow Transmitter LoLo Flow | <message id="M64" trigger-value="1" identifier="64" trigger="#T64" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT41 Inlet Flow Transmitter LoLo Flow" />
4 | M65 | 1 | 65 | T65 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Lo Flow | FT41 Inlet Flow Transmitter Lo Flow | <message id="M65" trigger-value="1" identifier="65" trigger="#T65" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT41 Inlet Flow Transmitter Lo Flow" />
4 | M66 | 1 | 66 | T66 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Hi Flow | FT41 Inlet Flow Transmitter Hi Flow | <message id="M66" trigger-value="1" identifier="66" trigger="#T66" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT41 Inlet Flow Transmitter Hi Flow" />
4 | M67 | 1 | 67 | T67 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter HiHi Flow | FT41 Inlet Flow Transmitter HiHi Flow | <message id="M67" trigger-value="1" identifier="67" trigger="#T67" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT41 Inlet Flow Transmitter HiHi Flow" />
4 | M68 | 1 | 68 | T68 | #800000 | #FFFFFF | false | true | false | false | FTX1 Inlet Flow Transmitter Config Error | FT41 Inlet Flow Transmitter Config Error | <message id="M68" trigger-value="1" identifier="68" trigger="#T68" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT41 Inlet Flow Transmitter Config Error" />
4 | M69 | 1 | 69 | T69 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level LoLo Level | LT41 Tank Level LoLo Level | <message id="M69" trigger-value="1" identifier="69" trigger="#T69" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT41 Tank Level LoLo Level" />
4 | M70 | 1 | 70 | T70 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Lo Level | LT41 Tank Level Lo Level | <message id="M70" trigger-value="1" identifier="70" trigger="#T70" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT41 Tank Level Lo Level" />
4 | M71 | 1 | 71 | T71 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Hi Level | LT41 Tank Level Hi Level | <message id="M71" trigger-value="1" identifier="71" trigger="#T71" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT41 Tank Level Hi Level" />
4 | M72 | 1 | 72 | T72 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level HiHi Level | LT41 Tank Level HiHi Level | <message id="M72" trigger-value="1" identifier="72" trigger="#T72" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT41 Tank Level HiHi Level" />
4 | M73 | 1 | 73 | T73 | #800000 | #FFFFFF | false | true | false | false | LTX1 Tank Level Config Error | LT41 Tank Level Config Error | <message id="M73" trigger-value="1" identifier="73" trigger="#T73" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="LT41 Tank Level Config Error" />
4 | M74 | 1 | 74 | T74 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter LoLo Flow | FT42 Outlet Flow Transmitter LoLo Flow | <message id="M74" trigger-value="1" identifier="74" trigger="#T74" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT42 Outlet Flow Transmitter LoLo Flow" />
4 | M75 | 1 | 75 | T75 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Lo Flow | FT42 Outlet Flow Transmitter Lo Flow | <message id="M75" trigger-value="1" identifier="75" trigger="#T75" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT42 Outlet Flow Transmitter Lo Flow" />
4 | M76 | 1 | 76 | T76 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Hi Flow | FT42 Outlet Flow Transmitter Hi Flow | <message id="M76" trigger-value="1" identifier="76" trigger="#T76" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT42 Outlet Flow Transmitter Hi Flow" />
4 | M77 | 1 | 77 | T77 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter HiHi Flow | FT42 Outlet Flow Transmitter HiHi Flow | <message id="M77" trigger-value="1" identifier="77" trigger="#T77" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT42 Outlet Flow Transmitter HiHi Flow" />
4 | M78 | 1 | 78 | T78 | #800000 | #FFFFFF | false | true | false | false | FTX2 Outlet Flow Transmitter Config Error | FT42 Outlet Flow Transmitter Config Error | <message id="M78" trigger-value="1" identifier="78" trigger="#T78" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="FT42 Outlet Flow Transmitter Config Error" />
4 | M79 | 1 | 79 | T79 | #800000 | #FFFFFF | false | true | false | false | MCX1 Pump VFD Fault | MC41 Pump VFD Fault | <message id="M79" trigger-value="1" identifier="79" trigger="#T79" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="MC41 Pump VFD Fault" />
4 | M80 | 1 | 80 | T80 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter LoLo Pressure | PT41 Pump Discharge Pressure Transmitter LoLo Pressure | <message id="M80" trigger-value="1" identifier="80" trigger="#T80" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT41 Pump Discharge Pressure Transmitter LoLo Pressure" />
4 | M81 | 1 | 81 | T81 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Lo Pressure | PT41 Pump Discharge Pressure Transmitter Lo Pressure | <message id="M81" trigger-value="1" identifier="81" trigger="#T81" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT41 Pump Discharge Pressure Transmitter Lo Pressure" />
4 | M82 | 1 | 82 | T82 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Hi Pressure | PT41 Pump Discharge Pressure Transmitter Hi Pressure | <message id="M82" trigger-value="1" identifier="82" trigger="#T82" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT41 Pump Discharge Pressure Transmitter Hi Pressure" />
4 | M83 | 1 | 83 | T83 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter HiHi Pressure | PT41 Pump Discharge Pressure Transmitter HiHi Pressure | <message id="M83" trigger-value="1" identifier="83" trigger="#T83" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT41 Pump Discharge Pressure Transmitter HiHi Pressure" />
4 | M84 | 1 | 84 | T84 | #800000 | #FFFFFF | false | true | false | false | PTX1 Pump Discharge Pressure Transmitter Config Error | PT41 Pump Discharge Pressure Transmitter Config Error | <message id="M84" trigger-value="1" identifier="84" trigger="#T84" backcolor="#800000" forecolor="#FFFFFF" audio="false" display="true" print="false" message-to-tag="false" text="PT41 Pump Discharge Pressure Transmitter Config Error" />