## Sheet 1
Alarm Name | Severity | Create Data Point | PLC Tag Name | Clear Data Rule
ACW Chamber 5 Level HiHi Alarm | CRITICAL | lsh_120_hihi_alm | LSH_120 | DURATION - 30 MINUTES
ACW Containment Alarm | CRITICAL | li_103D_level_alm | LI_103D_FBK | DURATION - 30 MINUTES
Air Compressor Exhaust Fan VFD Faulted | CRITICAL | ef_vfd_1_n2_faulted_alm | AL0_N2_EF_VFD_1_Faulted | DURATION - 30 MINUTES
AIT 114A HiHi Alarm | CRITICAL | ait_114a_hihi_alm | AIT_114A.AHH | DURATION - 30 MINUTES
AIT 114A Lo Alarm | MAJOR | ait_114a_lo_alm | AIT_114A.AL | DURATION - 30 MINUTES
AIT 114A LoLo Alarm | CRITICAL | ait_114a_lolo_alm | AIT_114A.ALL | DURATION - 30 MINUTES
AIT 114B HiHi Alarm | CRITICAL | ait_114b_hihi_alm | AIT_114B.AHH | DURATION - 30 MINUTES
AIT 114C HiHi Alarm | CRITICAL | ait_114c_hihi_alm | AIT_114C.AHH | DURATION - 30 MINUTES
AIT 114C Lo Alarm | MAJOR | ait_114c_lo_alm | AIT_114C.AL | DURATION - 30 MINUTES
AIT 114C LoLo Alarm | CRITICAL | ait_114c_lolo_alm | AIT_114C.ALL | DURATION - 30 MINUTES
AIT 114D HiHi Alarm | CRITICAL | ait_114d_hihi_alm | AIT_114D.AHH | DURATION - 30 MINUTES
AIT 114E HiHi Alarm | CRITICAL | ait_114e_hihi_alm | AIT_114E.AHH | DURATION - 30 MINUTES
AIT 114L Lo Alarm | MAJOR | ait_114l_lo_alm | AIT_114L.AL | DURATION - 30 MINUTES
AIT 114L LoLo Alarm | CRITICAL | ait_114l_lolo_alm | AIT_114L.ALL | DURATION - 30 MINUTES
AIT 114R Lo Alarm | MAJOR | ait_114r_lo_alm | AIT_114R.AL | DURATION - 30 MINUTES
AIT 114R LoLo Alarm | CRITICAL | ait_114r_lolo_alm | AIT_114R.ALL | DURATION - 30 MINUTES
AIT 114X Lo Alarm | MAJOR | ait_114x_lo_alm | AIT_114X.AL | DURATION - 30 MINUTES
AIT 114X LoLo Alarm | CRITICAL | ait_114x_lolo_alm | AIT_114X.ALL | DURATION - 30 MINUTES
AIT 114Z Lo Alarm | MAJOR | ait_114z_lo_alm | AIT_114Z.AL | DURATION - 30 MINUTES
AIT 114Z LoLo Alarm | CRITICAL | ait_114z_lolo_alm | AIT_114Z.ALL | DURATION - 30 MINUTES
BP 3A Run Fail Alarm | CRITICAL | bp_3a_run_fail_alm | BP_3A_RUN_FAIL | DURATION - 30 MINUTES
BP 3B Run Fail Alarm | CRITICAL | bp_3b_run_fail_alm | BP_3B_RUN_FAIL | DURATION - 30 MINUTES
Cartridge Filter #1 Hi Differential Alarm | MAJOR | pdt_108b_hi_alm | PDT_108B.AH | DURATION - 30 MINUTES
Cartridge Filter #1 HiHi Differential Alarm | CRITICAL | pdt_108b_hihi_alm | PDT_108B.AHH | DURATION - 30 MINUTES
Cartridge Filter #2 Hi Differential Alarm | MAJOR | pdt_108c_hi_alm | PDT_108C.AH | DURATION - 30 MINUTES
Cartridge Filter #2 HiHi Differential Alarm | CRITICAL | pdt_108c_hihi_alm | PDT_108C.AHH | DURATION - 30 MINUTES
FIT 004 HiHi Alarm | CRITICAL | fit_004_hihi_alm | FIT_004.AHH | DURATION - 30 MINUTES
FIT 106A HiHi Alarm | CRITICAL | fit_106a_hihi_alm | FIT_106A.AHH | DURATION - 30 MINUTES
FIT 106B HiHi Alarm | CRITICAL | fit_106b_hihi_alm | FIT_106B.AHH | DURATION - 30 MINUTES
FIT 107A LoLo Alarm | CRITICAL | fit_107a_lolo_alm | FIT_107A.ALL | DURATION - 30 MINUTES
FIT 107B LoLo Alarm | CRITICAL | fit_107b_lolo_alm | FIT_107B.ALL | DURATION - 30 MINUTES
Inlet Flow Rate To ACW Hi Alarm | MAJOR | fit_100_hi_alm | FIT_100.AH | DURATION - 30 MINUTES
Inlet Flow Rate To ACW HiHi Alarm | CRITICAL | fit_100_hihi_alm | FIT_100.AHH | DURATION - 30 MINUTES
Inlet Flow Rate To ACW Lo Alarm | CRITICAL | fit_100_lo_alm | FIT_100.AL | DURATION - 30 MINUTES
LIT 110A Hi Alarm | MAJOR | lit_110a_hi_alm | LIT_110A.AH | DURATION - 30 MINUTES
LIT 110A HiHi Alarm | CRITICAL | lit_110a_hihi_alm | LIT_110A.AHH | DURATION - 30 MINUTES
LIT 116A Hi Alarm | MAJOR | lit_116a_hi_alm | LIT_116A.AH | DURATION - 30 MINUTES
LIT 116A HiHi Alarm | CRITICAL | lit_116a_hihi_alm | LIT_116A.AHH | DURATION - 30 MINUTES
LIT 116B Hi Alarm | MAJOR | lit_116b_hi_alm | LIT_116B.AH | DURATION - 30 MINUTES
LIT 116B HiHi Alarm | CRITICAL | lit_116b_hihi_alm | LIT_116B.AHH | DURATION - 30 MINUTES
LIT 116C Hi Alarm | MAJOR | lit_116c_hi_alm | LIT_116C.AH | DURATION - 30 MINUTES
LIT 116C HiHi Alarm | CRITICAL | lit_116c_hihi_alm | LIT_116C.AHH | DURATION - 30 MINUTES
LIT 170 HiHi Alarm | CRITICAL | lit_170_hihi_alm | LIT_170.AHH | DURATION - 30 MINUTES
LIT 200 HiHi Alarm | CRITICAL | lit_200_hihi_alm | LIT_200.AHH | DURATION - 30 MINUTES
LSH 114 Alarm | CRITICAL | lsh_114_alm | LSH_114.ALARM | DURATION - 30 MINUTES
LSH 120 Alarm | CRITICAL | lsh_120_alm | LSH-120.ALARM | DURATION - 30 MINUTES
M106A VFD Faulted Alarm | CRITICAL | m106a_vfd_faulted_alm | M106A_VFD:I.Faulted | DURATION - 30 MINUTES
M106B VFD Faulted Alarm | CRITICAL | m106b_vfd_faulted_alm | M106B_VFD:I.Faulted | DURATION - 30 MINUTES
Modem Disconnected Alarm | CRITICAL | active |  | DURATION - 10 MINUTES
N₂ Exhaust Fan VFD Faulted | CRITICAL | ef_vfd_2_n2_faulted_alm | AL0_N2_EF_VFD_2_Faulted | DURATION - 30 MINUTES
PDI 065 HiHi Alarm | CRITICAL | pdi_065_hihi_alm | PDI_065.AHH | DURATION - 30 MINUTES
PDI 065 Lo Alarm | MAJOR | pdi_065_lo_alm | PDI_065.AL | DURATION - 30 MINUTES
PDI 065 LoLo Alarm | CRITICAL | pdi_065_lolo_alm | PDI_065.ALL | DURATION - 30 MINUTES
PIT 050 HiHi Alarm | CRITICAL | pit_050_hihi_alm | PIT_050.AHH | DURATION - 30 MINUTES
PIT 065 HiHi Alarm | CRITICAL | pit_065_hihi_alm | PIT_065.AHH | DURATION - 30 MINUTES
PIT 100 HiHi Alarm | CRITICAL | pit_100_hihi_alm | PIT_100.AHH | DURATION - 30 MINUTES
PIT 101A Hi Alarm | MAJOR | pit_101a_hi_alm | PIT_101A.AH | DURATION - 30 MINUTES
PIT 101A HiHi Alarm | CRITICAL | pit_101a_hihi_alm | PIT_101A.AHH | DURATION - 30 MINUTES
PIT 101A Transmitter Alarm | CRITICAL | pit_101a_transmitter_alm | PIT_101A.XFail | DURATION - 30 MINUTES
PIT 101B Hi Alarm | MAJOR | pit_101b_hi_alm | PIT_P101B.AH | DURATION - 30 MINUTES
PIT 101B HiHi Alarm | CRITICAL | pit_101b_hihi_alm | PIT_101B.AHH | DURATION - 30 MINUTES
PIT 101B Transmitter Alarm | CRITICAL | pit_101b_transmitter_alm | PIT_101B.XFail | DURATION - 30 MINUTES
PIT 102 Hi Alarm | MAJOR | pit_102_hi_alm | PIT_102.AH | DURATION - 30 MINUTES
PIT 102 HiHi Alarm | CRITICAL | pit_102_hihi_alm | PIT_102.AHH | DURATION - 30 MINUTES
PIT 106A HiHi Alarm | CRITICAL | pit_106a_hihi_alm | PIT_106A.AHH | DURATION - 30 MINUTES
PIT 106B HiHi Alarm | CRITICAL | pit_106b_hihi_alm | PIT_106B.AHH | DURATION - 30 MINUTES
PIT 107A LoLo Alarm | CRITICAL | pit_107a_lolo_alm | PIT_107A.ALL | DURATION - 30 MINUTES
PIT 107B LoLo Alarm | CRITICAL | pit_107b_lolo_alm | PIT_107B.ALL | DURATION - 30 MINUTES
PIT 108A HiHi Alarm | CRITICAL | pit_108a_hihi_alm | PIT_108A.AHH | DURATION - 30 MINUTES
PIT 108B HiHi Alarm | CRITICAL | pit_108b_hihi_alm | PIT_108B.AHH | DURATION - 30 MINUTES
PIT 108C HiHi Alarm | CRITICAL | pit_108c_hihi_alm | PIT_108C.AHH | DURATION - 30 MINUTES
PIT 108G HiHi Alarm | CRITICAL | pit_108g_hihi_alm | PIT_108G.AHH | DURATION - 30 MINUTES
PIT 110 HiHi Alarm | CRITICAL | pit_110_hihi_alm | PIT_110.AHH | DURATION - 30 MINUTES
PIT 111A Hi Alarm | MAJOR | pit_111a_hi_alm | PIT_111A.AH | DURATION - 30 MINUTES
PIT 111A HiHi Alarm | CRITICAL | pit_111a_hihi_alm | PIT_111A.AHH | DURATION - 30 MINUTES
PIT 111B Hi Alarm | MAJOR | pit_111b_hi_alm | PIT_111B.AH | DURATION - 30 MINUTES
PIT 111B HiHi Alarm | CRITICAL | pit_111b_hihi_alm | PIT_111B.AHH | DURATION - 30 MINUTES
PIT 111C Hi Alarm | MAJOR | pit_111c_hi_alm | PIT_111C.AH | DURATION - 30 MINUTES
PIT 111C HiHi Alarm | CRITICAL | pit_111c_hihi_alm | PIT_111C.AHH | DURATION - 30 MINUTES
PNL ESD Alarm | CRITICAL | pnl_esd_alm | PNL_ESD.ALARM | DURATION - 30 MINUTES
PSD Alarm | CRITICAL | psd_alm | CMD_PSD | DURATION - 30 MINUTES
RMT SD Alarm | CRITICAL | rmt_sd_alm | RMT_SD.ALARM | DURATION - 30 MINUTES
Room Status Temp Hi | MAJOR | compressor_ambient_temp_hi_alm | N2_RoomTemp.AH | SIMPLE - 0 N/A
Room Status Temp HiHi | CRITICAL | compressor_ambient_temp_hihi_alm | N2_RoomTemp.AHH | SIMPLE - 0 N/A
Room Status Temp Lo | MAJOR | compressor_ambient_temp_lo_alm | N2_RoomTemp.AL | SIMPLE - 0 N/A
Room Status Temp LoLo | CRITICAL | compressor_ambient_temp_lolo_alm | N2_RoomTemp.ALL | SIMPLE - 0 N/A
Sock Filter Hi Differential Alarm | MAJOR | pdt_108a_hi_alm | PDT_108A.AH | DURATION - 30 MINUTES
Sock Filter HiHi Differential Alarm | CRITICAL | pdt_108a_hihi_alm | PDT_108A.AHH | DURATION - 30 MINUTES
ZAE 111A HiHi Alarm | CRITICAL | zae_111a_hihi_alm | ZAE_111A.AHH | DURATION - 30 MINUTES
ZAE 111B HiHi Alarm | CRITICAL | zae_111b_hihi_alm | ZAE_111B.AHH | DURATION - 30 MINUTES